**Laser Inventory Form**

**Annual Requirement**

Date of Inventory: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date of Last Inventory: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Person Completing Inventory: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Registration number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Room # or location \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Serial Number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Laser Manufacturer\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Model Number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Hazard class as indicated by manufacturer: 1 2a 2 3a 3b. 4 Unknown

Has laser been modified and the hazard class changed? Yes No

Wavelength: \_\_\_\_\_\_\_\_ μm. nm, Max. Beam Power/Energy: \_\_\_\_\_\_\_\_. mW mJ

Pulse Duration: \_\_\_\_\_\_\_\_ ns, Pulse Repetition Rate: \_\_\_\_\_\_\_\_ Hz,

Beam Diameter: \_\_\_\_\_\_\_\_ mm , Beam Divergence: \_\_\_\_\_\_\_\_ mrad

Hazards: Eye hazard from direct, reflected or scattered beam. Skin hazard and fire hazard

Electrical haza4rd inside power supply Laser Generated Air Contaminants

Room # or location \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Serial Number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Laser Manufacturer\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Model Number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Hazard class as indicated by manufacturer: 1 2a 2 3a 3b. 4 Unknown

Has laser been modified and the hazard class changed? Yes No

Wavelength: \_\_\_\_\_\_\_\_ μm. nm, Max. Beam Power/Energy: \_\_\_\_\_\_\_\_. mW mJ

Pulse Duration: \_\_\_\_\_\_\_\_ ns, Pulse Repetition Rate: \_\_\_\_\_\_\_\_ Hz,

Beam Diameter: \_\_\_\_\_\_\_\_ mm , Beam Divergence: \_\_\_\_\_\_\_\_ mrad

Hazards: Eye hazard from direct, reflected or scattered beam. Skin hazard and fire hazard

Electrical haza4rd inside power supply Laser Generated Air Contaminants

Room # or location \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Serial Number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Laser Manufacturer\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Model Number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Hazard class as indicated by manufacturer: 1 2a 2 3a 3b. 4 Unknown

Has laser been modified and the hazard class changed? Yes No

Wavelength: \_\_\_\_\_\_\_\_ μm. nm, Max. Beam Power/Energy: \_\_\_\_\_\_\_\_. mW mJ

Pulse Duration: \_\_\_\_\_\_\_\_ ns, Pulse Repetition Rate: \_\_\_\_\_\_\_\_ Hz,

Beam Diameter: \_\_\_\_\_\_\_\_ mm , Beam Divergence: \_\_\_\_\_\_\_\_ mrad

Hazards: Eye hazard from direct, reflected or scattered beam. Skin hazard and fire hazard

Electrical haza4rd inside power supply Laser Generated Air Contaminants